# 09.Reactivity Feedback (Masterson)

Chapter 17. Burnup, Depletion, and Temperature Feedback	2

17.9 Masterson: How Temperature Affects the reactivity of the Core	2

17.10 Masterson: Moderator Temperature Coefficient	4

17.11 Masterson: Effect of Boric Acid on the Moderator Temperature Coefficient	4

17.12 Masterson: Temperature Feedback with Nucleate or Bulk Boiling	4

17.13 Masterson: Understanding the Void Coefficient of the reactivity	5

17.14 Masterson.17.14: The Void Coefficient and load Following	6

17.15 Masterson: Understanding the Fuel Temperature Coefficient	7

17.16 Masterson: Doppler Broadening and Its Effect on the resonance Escape Probability	7

17.17 Masterson: Other Factors That Affect the Fuel Temperature Coefficient	10

17.18 Masterson: Time Dependence of the Core Temperature Coefficients	11

17.19 Masterson: Regulatory requirements Governing Sudden reactivity Changes	11

Reading: Ch09.Energy Transport	13

17.20 Introduction	13

17.21 Core Power Distribution	13

# Masterson: Burnup, Depletion, and Temperature Feedback

## Masterson: How Temperature Affects the reactivity of the Core

The temperature of the core can affect the reactivity in many different ways. We previously mentioned that nuclear reactors have a number of different feedback mechanisms built into them to prevent rapid increases in the power level from feeding on themselves.

One of the most important of these mechanisms is a phenomenon called temperature feedback. Changes in the temperature of the core can occur at different rates in the fuel and in the moderator, and certain parts of the core can run hotter or colder than others. Thus, core-wide temperature changes can affect the power level in many different ways. In this section, we would like to discuss how these reactivity changes can be predicted quantitatively. On a macroscopic level, increasing the temperature of the core causes its molecular density to decrease, and this reduces the neutron production rate over a period of time. The extent to which a change in the temperature of a reactor’s materials will produce a corresponding change in its reactivity is called the temperature coefficient of the reactivity. The temperature coefficient of the reactivity is usually given by the symbol αT, and it is formally defined by:

| αT=dρdT=ΔρΔT | ‎17.1 |
| --- | --- |

Thus if αT and ∆T are known, then the change in the reactivity of the core becomes

| Δρ=αTΔT | ‎17.2 |
| --- | --- |

where ΔT is the average temperature change of the core in degrees kelvin or degrees centigrade. In some reactors, the value of αT can be either positive or negative. However, in most reactors, the temperature coefficient αT is designed to be as negative as possible. When the value of ∆T is positive, and the value of ∆ρ is negative, the effect on the reactivity is known as negative temperature feedback. Notice that ‎17.2 implies that the relationship between ∆ρ and ∆T is a linear one, and while this relationship is not exactly linear in practice, it is usually accurate enough to predict how the core will behave. From ‎17.2, it is also apparent that αT has the units of per °C or per °k. Since the reactivity is given by

| ρ=k-1k=1-1k | ‎17.3 |
| --- | --- |

It also follows:

| Temperature Coefficient of the Reactivity αT=dρdT=d1-1/kdT or αT=1k2dkdT | ‎17.4 |
| --- | --- |

where for most practical purposes, we can generally assume that k = keffective. Temperature changes can then alter the value of the reactivity in two primary ways:

- First, the temperature can change the reactivity by affecting the density of the coolant. As the temperature rises, the coolant expands and becomes less dense, and beyond a certain temperature and pressure, it will begin to boil. This boiling causes steam bubbles (e.g., voids) to develop in the coolant, which tends to harden the neutron energy spectrum since there are simply fewer atoms available to slow the neutrons down. This means that the supply of thermal neutrons will be reduced (due to the decreased moderation), and if we are dealing with a thermal water reactor, this will tend to shut down the fission process if the change in the density of the coolant is great enough. So, in a sense, increasing the power level is a self-regulating process as far as the moderator is concerned. The other interesting thing that occurs in a thermal reactor is that the hardening of the neutron energy spectrum also increases the neutron leakage rate, since neutrons will diffuse more easily through a less-dense medium than they will through a denser one.

- Second, and perhaps more importantly, changes in the core temperature can affect the reactivity through changes in the temperature of the fuel. Although the fuel does not boil like the coolant does, the thermal expansion of the fuel can reduce the reactivity, and there is an additional mechanism called the nuclear Doppler effect that can affect the resonance escape probability and change the reactivity even further.

Hence, we can partition the temperature coefficient of the core into three primary components—one for the thermal expansion of the moderator, αM; the second for the thermal expansion of the fuel, αF; and the third for the increased neutron leakage rate from the core, αL. If the coolant does not change phase, this allows us to write the total reactivity change as the sum of these three terms:

| The Total Reactivity Change Due to Temperature-Related Effects Δρ=αM+αF+αLΔT where αT=αM+αF+αL | ‎17.5 |
| --- | --- |

Of course, this equation assumes that the temperatures of the fuel and the moderator change at the same rate. In practice, this is rarely the case. Then separate values of ∆T must be used for the fuel, the moderator, and the core as a whole. The aggregate reactivity change is then

| Δρ=αMΔTM+αFΔTF+αLΔTC | ‎17.6 |
| --- | --- |

where ΔTM, ΔTF,and ΔTC refer to the moderator, the fuel, and the core, respectively. The values of αM,αF,and αL are tabulated and fed into Equation ‎17.5 to determine the total change in the reactivity as the temperatures changes from T to T′, where ∆T = T′ – T. Example Problem 17.3 illustrates how this can be done.

To be completely accurate, every material can have its temperature change in a different way. Normally, the contributions of the cladding and the structure are lumped into the value of αL . In most reactors, the two dominant temperature coefficients are the moderator temperature coefficient αM and the fuel temperature coefficient αF. Normally, the leakage temperature coefficient αL is smaller and of less importance than the other two coefficients.

Example Problem 17.3: Suppose that a thermal water reactor has a fuel temperature coefficient of –1 cent/°C, a moderator temperature coefficient of −0.5 cents/°C, and a leakage temperature coefficient of −0.1 cents/°C. If the temperature of all three materials is suddenly increased by 100°C, how much does the reactivity ρ fall in this case?

Solution The total change in the reactivity is given by Δρ = αMΔTM+αFΔTF+αLΔTL . Since ΔTM=ΔTF=ΔTL=100°C, the reactivity falls by Δρ = − (0.01 + 0.005 + 0.001) × 100 = −160 cents = −1.6 dollars in this case. [Ans.]

## Masterson: Moderator Temperature Coefficient

Next, let us discuss the magnitude and the sign of the moderator temperature coefficient. If the coolant does not boil, the sign of the moderator temperature coefficient is primarily determined by the molecular density of the coolant. Since most reactor coolants expand when they are heated, the molecular density of the coolant falls as the temperature increases, and the moderating efficiency decreases as well (Table 17.1). In other words, the moderator coefficient is normally a negative number. A negative coefficient prevents a reactor from running away when the power level is suddenly raised. Hence, reactors with a negative moderator coefficient are more stable than reactors with a positive moderator coefficient. The example 17.3 illustrates how this affects the reactivity.

## Masterson: Effect of Boric Acid on the Moderator Temperature Coefficient

In modern PWRs, the moderator coefficient is a function of the amount of boric acid that is dissolved in the coolant. In a fresh core, the moderator coefficient αM can sometimes become positive when the boric acid concentration exceeds 1500 PPM (parts per million), or about 1.5 grams per liter. For this reason, burnable poisons are added to the fuel assemblies to keep the total temperature coefficient (fuel plus moderator) negative initially. Then, as the boric acid concentration decreases, the moderator coefficient becomes negative as well. Even at a modest boric acid concentration of 1700 PPM, the moderator coefficient can still have a positive value of +12.5 pcm/°C, or 1.925 cents/°C. This means that an increase in the moderator temperature of just 8°C will increase the reactivity by about 15.4 cents, which would double the power level in about 40 seconds. The effect of burnable poisons on the “Solbor” concentration is shown in Figure 18.12.

## Masterson: Temperature Feedback with Nucleate or Bulk Boiling

In PWRs, gas reactors, and liquid metal fast breeder reactors, the reactivity is temperature dependent as long as the coolant does not boil. However, when the coolant boils (as it does in a BWR), the previous expression for the moderator temperature coefficient

| αM=dρdTM | ‎17.7 |
| --- | --- |

can no longer be used to estimate the change in the core power level because voids (or bubbles) are created in the coolant while the temperature of the coolant remains the same. However, the void fraction does change as the coolant absorbs additional thermal energy, and this is how the reactivity change must be determined.

Previously, we learned that the coolant in a BWR reaches its saturation temperature (286°C) about one-third of the way up the core, and beyond this point, the coolant temperature stays the same no matter how much energy is added to the coolant. (The additional energy simply creates more voids.) This process continues until all of the coolant has been converted into steam. Practically speaking, the void fraction α in a BWR never rises above 80% (even at the core exit), and the quality x of the coolant rarely exceeds 17% at this elevation. The temperature and void fraction profiles are shown in Figure 17.10. This means that an entirely different approach must be used to estimate the reactivity changes induced by the presence of these voids. In practice, this can be done by defining another reactivity coefficient called the void coefficient of the reactivity.

In the sections that follow, we would like to explain how the void coefficient of the reactivity works. The void coefficient is more important than the moderator temperature coefficient when it comes to determining the behavior of a BWR. In fact, during normal operation, the void coefficient completely dominates the moderator temperature coefficient in a BWR. Conversely, in a PWR, where most the coolant does not boil, the void content rarely exceeds one-half of one percent. Thus, the void coefficient is normally of no importance to the time-dependent behavior of a PWR. The only exception to this rule is a severe reactor accident.

## Masterson: Understanding the Void Coefficient of the reactivity

We can estimate the effect that vapor bubbles (or voids) have on the average density of the coolant if we know the void fraction α of the liquid–vapor mixture. The void fraction α at a particular location in the core is defined as:

| Definition of the Void Fraction (α) Void fraction (α)=Volume of the vaporVolume of the liquid + Volume of the vapor | ‎17.8 |
| --- | --- |

In Equation 17.8 the phases are assumed to move at the same speed. The density of the resulting liquid–vapor mixture is then

| density: ρMIX=1-αρl+αρV | ‎17.9 |
| --- | --- |

Here ρl is the density of the liquid, ρV is the density of the vapor, and α is the local void fraction (which can be a function of axial elevation). Numerically, we can express the relationship between the reactivity change Δρ and the change in the void fraction Δα as:

| Definition of the Void Coefficient of the Reactivity αV=ΔρΔα or αV=dρdα | ‎17.10 |
| --- | --- |

Equation 17.10 then defines the void coefficient of the reactivity αV. In other words, when the coolant boils, changing the void fraction affects the value of the reactivity ρ even though the average temperature of the coolant remains the same. The exact relationship between the reactivity change and the change in the void fraction is

| Δρ=αVΔα | ‎17.11 |
| --- | --- |

and this relationship appears frequently in the analysis of BWR cores. Now, let us examine some representative values for the size of the void coefficient of the reactivity. In a modern BWR, the void coefficient has a value of about −0.0015 per % void. In other words, if the void fraction in the core is 40% (a common core average), the reactivity reduction due to the presence of the voids alone is 40% × −0.0015/% = −0.0600. This is about 9 dollars and 25 cents of negative reactivity for a U-235-fueled core! Notice that αV is a dimensionless number, and unlike the temperature coefficients αM, αF, and αL  that we discussed previously, it does not have the units of inverse temperature.

Moreover, except near the critical point of water (where the values of ρl and ρV are nearly identical), it is a large negative number since increasing α will always decrease the value of ρMIX. We can show why this is true by noting that ρl is always much larger than ρV (i.e., ρV ≪ ρl ). So, in a typical BWR core, where the operating pressure is 1050 PSI (~7.24 MPa), we find that

| ρMIX≈1-αρl | ‎17.12 |
| --- | --- |

We then find that dρMIX/dα ≈ -ρl . In other words, ρMIX decreases as α increases, and in general, the reactivity ρ follows a similar trend.

## Masterson.17.14: The Void Coefficient and load Following

Since the density of the coolant is so sensitive to the value of α in BWRs, the heat-generation rate depends on how large the void fraction can be. This means that the power level in the core can be increased by increasing the core flow rate (since fewer voids will be formed), and the power level in the core can be decreased by decreasing the core flow rate (because this adds more heat to the coolant and causes the number of voids to increase). A commercial BWR uses this principle to couple the core flow rate to the power output of the plant. If the steam turbines sense that more electrical power is needed, they send a signal to the recirculation pumps to increase the mass flow rate through the core. This reduces the number of voids and increases the power output. Conversely, if less electricity is required, the steam turbines send a signal to the recirculation pumps to reduce the core flow rate. This causes the load on the turbines to fall, and less electricity will be produced. Hence, the power output of the core can be “throttled” to match the electrical demand from the power grid, and this is how the term load following originated. Due to the negative void coefficient, a BWR is an exceptional load-following device (see Figure 17.11).

PWRs are also good at load following but, in this case, the load following is due to the negative moderator coefficient (and not the negative void coefficient). Both effects are illustrated in Figure 17.12. Because it takes a while for the heat to escape from the fuel rods, the moderator temperature coefficient and the void coefficient do not respond as quickly to changes in the power level as the fuel temperature coefficient does. So, during fast transients in PWRs and BWRs, the time-dependent behavior of the core is determined primarily by changes to the temperature of the fuel. In other words,

The fuel temperature coefficient is normally the first line of defense against a reactor suddenly overheating and running away.

In the sections that follow, we would like to discuss the fuel temperature coefficient and explain why it is so important to the safety of a nuclear power plant. The value of the fuel temperature coefficient depends almost entirely on the isotopic composition of the fuel. Thus, a poorly designed reactor (like the one at Chernobyl) had a positive fuel temperature coefficient, while a well-designed reactor (like a modern PWR) will have a negative fuel temperature coefficient.

## Masterson: Understanding the Fuel Temperature Coefficient

In general, fuel temperature feedback has a greater initial impact on the system-wide reactivity than either the moderator temperature coefficient or the void coefficient. This is particularly true when the reactor power level increases or decreases over very short periods of time. Consequently, the fuel temperature coefficient is sometimes called the prompt temperature coefficient because a sharp increase in the reactor power level will cause the fuel temperature to change instantaneously. In practice, the fuel temperature coefficient can be designed to be either positive or negative; however, almost all reactors are designed with a negative temperature coefficient to make them easier to control. The fuel temperature coefficient then measures the rate of change of the reactivity per degree change in the temperature of the fuel. From the six-factor formula

| k=PFNLPTNLk∞=PFNLPTNL(ηϵfp) | ‎17.13 |
| --- | --- |

We know that the primary factor that is affected by a change in the fuel temperature is the resonance escape probability p. The fast-fission factor ε has almost no dependence on the fuel temperature in a thermal water reactor. The eta of the fuel η is also temperature dependent, and we will discuss its specific temperature dependence in another section.

We can therefore equate the fuel temperature coefficient αF to the behavior of dp/dT, or more specifically αF ~ dp/dT where we can now hypothesize that the resonance escape probability p, which we have previously assumed to be a constant, is now temperature dependent; that is, p = p (T). Since any change in the temperature is first felt in the fuel, this factor determines the initial response of a reactor to a sudden change in the power level. We would now like to discuss how the resonance escape probability is affected by the fuel pin temperature.

## Masterson: Doppler Broadening and Its Effect on the resonance Escape Probability

Thermal water reactors use enriched uranium fuel that contains U-235 and U-238. Increasing the temperature of the fuel causes the atoms in the fuel to vibrate more vigorously because their kinetic energies are higher. The increase in their kinetic energy E = ½ mv2 is proportional to the absolute temperature T, which implies that

| E=12mv2=BT=12kT | ‎17.14 |
| --- | --- |

where B is an arbitrary constant that depends on the type of fuel. If the atoms in the fuel happen to be loosely bound and are not considered to be part of an actual lattice, then the constant of proportionality B becomes Boltzmann’s constant k, divided by 2. This means that the average velocity that the atoms vibrate in the lattice is proportional to the square root of their absolute temperature T. On the other hand, fission neutrons begin to slow down by colliding with the atoms in the fuel rods, and they eventually reach an energy just above the thermal energy range (~0.025 eV) where many neutron absorption resonances exist. In particular, fuels like Thorium-232, Uranium-238, and Plutonium-240 have very large absorption resonances starting at about 10 KeV. The absorption resonances for Thorium-232 and Uranium-238 are shown in Figure 17.13.

For these materials the average spacing between these resonances is about 20 eV, and their average width is about 0.01 eV. One such resonance (out of potentially hundreds or even thousands of resonances) is shown in Figure 17.14. As the fission neutrons slow down and enter the range of energies where these resonances occur, a stationary target nucleus will have a much higher probability of absorbing a neutron if its energy E is very close to the energy of one of these resonance peaks. (Normally, this energy is represented by the symbol Eo.) However, if the nuclei are vibrating about their equilibrium positions in the lattice, their absorption resonances will appear to the approaching neutrons to broaden out due to the random thermal motion of the fuel atoms. This effect is sometimes called the Doppler broadening of the absorption resonances, and the overall effect is called the nuclear Doppler effect. As the temperature of the fuel rises, the relative energy difference between the nuclei and a neutron of energy E can assume a much greater distribution of energies due to the fact that each nucleus may be moving toward the neutron at one moment and away from the neutron at another. The result of this random thermal motion is that a beam of monoenergetic neutrons will have a continuous spread of kinetic energies rather than just a single kinetic energy E.

When viewed by the oncoming neutrons, the net effect of this molecular agitation is that the absorption resonances of the fuel atoms appear to become broader as the temperature is increased. Thus, the resonance escape probability p always decreases as the fuel temperature is raised because the Doppler broadening will cause more epithermal neutrons to be absorbed. We can immediately conclude that the reactivity of the fuel must be temperature dependent because the effective multiplication factor must be temperature dependent as well:

| keffectiveT=PFNLPTNLk∞=PFNLPTNL∙ϵf∙ηT∙pT | ‎17.15 |
| --- | --- |

Various theoretical models have been developed to quantify this process at a molecular level. The most famous of these is the Breit–Wigner model, which was developed by scientists working on the Manhattan Project during the Second World War. In essence, the Breit–Wigner model attempts to describe a theoretically symmetric absorption resonance of half width Γ centered about a single resonance energy Eo. The absorption cross section σa (E) around the resonance peak is represented by:

| The Breit–Wigner Formula σaE=σoΓ2(E-Eo)2+(Γ/2)2 | ‎17.16 |
| --- | --- |

where σo is a previously computed value that depends on the wavelength of the neutron at the resonance peak. The Breit–Wigner method can be applied to neutron-scattering resonances by replacing σaE with σsE. Thus, even if the initial neutron energy E does not correspond to the peak energy at Eo, the random thermal motion of the target nucleus causes some of the incoming neutrons to have a relative energy that is very close to Eo. If the nucleus is moving away from the neutron, the velocity of the neutron must be greater than Eo to hit the resonance peak. Conversely, if the nucleus is moving toward the neutron, the neutron needs less energy than Eo to be absorbed. raising the value of T causes the fuel atoms to vibrate more vigorously about their equilibrium positions, and this causes more neutrons to become trapped in the absorption resonances. Moreover, it can be shown after a lengthy derivation that the contribution of the resonance escape probability to the fuel temperature coefficient for a simple substance is given by

| αp=1pdpdT=-CTln1po | ‎17.17 |
| --- | --- |

where po is the resonance escape probability at an initial temperature of 300°k, and the value of C is given by

| C=A+Brρ | ‎17.18 |
| --- | --- |

where A and B are the dimensionless numbers shown in Table 17.2, r is the radius of the fuel pin (in cm), and ρ is the density of the fuel in grams per cubic centimeter (gm/cm3). In other words, the contribution of the Nuclear Doppler Effect to the fuel pin temperature coefficient is given by

| The Contribution of the Doppler Effect to the Fuel Temperature Coefficient αp=-CTln1po | ‎17.19 |
| --- | --- |

where T is the fuel temperature in °k and po is the resonance escape probability that we measure at room temperature (300°k). Because ln1/po and the coefficient C are always positive, the contribution of the resonance escape probability to the prompt temperature coefficient is always negative. Obviously, as T increases, the size of αp decreases. Since the velocity v is proportional to the square root of the temperature, it also follows that

| αp~1v | ‎17.20 |
| --- | --- |

In addition to the resonance escape probability, the neutron reproduction factor η used in the six-factor formula also has a slight temperature dependence. We would now like to explore the form of this dependence for different nuclear fuels.

## Masterson: Other Factors That Affect the Fuel Temperature Coefficient

The temperature dependence of the neutron reproduction factor η stems from the fact that the thermal cross sections for fission and radiative capture σf and σc do not have the same dependence on the speed of a thermal neutron. For a single fissile isotope, η is defined as

| η=νσfσa=νσfσc+σf | ‎17.21 |
| --- | --- |

where ν is the average number of neutrons released per fission. The energy dependence of η at thermal energies is determined primarily by the ratio of σf to σc. In 1962, Charles Westcott used the values he measured for σf and σc to derive explicit expressions for αη for several nuclear fuels. Assuming the neutron energy spectrum was Maxwellian, he found that the values of the temperature coefficients for U-233, U-235, and Pu-239 were given by

| Fuel Temperature Coefficients for Important Nuclear Fuels αη=+4.0 × 10-5 per °k for U-233 αη=-3.0 × 10-5 per °k for U-235 αη=-5.0 × 10-4 per °k for Pu-239 | ‎17.22 |
| --- | --- |

at room temperature. In addition, he showed that natural uranium had a value for αη close to zero below 300°C (573°k) although its value increases to about -1.0 × 10-4 per °k above room temperature. When more than one type of fuel is used, a weighted average of the fuel temperatures must also be used. In other words, the fuel temperature coefficient αF consists of a resonance escape coefficient αP and a neutron reproductive coefficient αη whose values are given by Equations 17.27 and 17.29, respectively:

| αF=αP+αη | ‎17.23 |
| --- | --- |

Now let us discuss the size of the temperature coefficient in more detail. Fuel temperature coefficients for thermal water reactors range between -1.0 × 10-5 per °K and -5.0 × 10-5 per °K for U-235-fueled cores. For example, the fuel temperature coefficient for a modern 9×9 BWR fuel assembly is about -1.7 × 10-5 per °k in absolute units, or -1.7 × 10-5 per °k/β in dollars and cents. An instantaneous 100°k degree rise in the fuel temperature then reduces the reactivity by 100 × −0.000017/0.0065 = −0.0017/0.0065 = −26 cents. Of course, this value would be different when a reactor was fueled with U-233 or Pu-239 instead of U-235.

Example Problem 17.4: If the value of α F at a temperature of T is known to be -2.0 ×10-5 per °k, what is the value of αF at a temperature of 4T?

Solution:

Since αFT=CTln1/po, it follows that αF4T=C4Tln1/po=C/2Tln1/po, so

αF4TαFT=12

Thus if αFT=-2.0 ×10-5 per °k then αF4T=12αFT=-1.0 ×10-5 per °k

So if we increase the fuel temperature by a factor of 4, α F becomes 50% smaller. Note, however, that the value of α F is still a negative number in this case. [Ans.]

## Masterson: Time Dependence of the Core Temperature Coefficients (Reading)

Because the temperature coefficients for the fuel and the moderator do not change at the same rate, their instantaneous effect on the reactivity is not the same. In other words, the fuel temperature coefficient affects the reactivity more quickly than the moderator temperature coefficient does. For example, changing the temperature of the fuel causes a system-wide change in the reactivity to occur almost immediately. This is because it takes only a couple of milliseconds for the fuel temperature to rise enough to throw additional neutrons into the U-238 absorption resonances. The time frame for this can be as little as 10 –4 seconds, and consequently, the fuel temperature coefficient is also called the “prompt” temperature coefficient.

Now let us say a few words about the moderator. Normally it takes a couple of seconds for the heat produced in the fuel to reach the moderator. This heat is transferred by the process of thermal conduction. This means that the moderator will have only a very small effect on the reactivity initially, but this time lag will only persist until vapor bubbles begin to form. As soon as the coolant starts to boil, the density becomes

| ρcoolant=1-αρl+αρV | ‎17.24 |
| --- | --- |

Where

ρl: is the density of the liquid

ρV: is the density of the vapor

α is the void fraction of the mixture

Thus, this density change needs to be taken into account in the calculation of the time-dependent reactivity reduction. Finally, the neutron energy spectrum hardens when more voids appear. This causes the neutron leakage rate l to increase, and the neutron mean free path increases as well. The time frames associated with each of these changes to the global reactivity are shown in Table 17.3. Table 17.3 also gives the magnitude of the changes as well.

## Masterson: Regulatory requirements Governing Sudden reactivity Changes (Reading)

raising the power level does not necessarily guarantee that all regions of the core will experience the same temperature change at the same time. For example, the fuel temperature may increase faster than the coolant temperature, and in some fuel assemblies, the temperature of the coolant may be lower than in others. For this reason, the U.S. NRC will not allow a commercial nuclear power plant to be licensed in the United States unless the temperature coefficient of the reactivity is negative across its entire operating range. (Military reactors normally have different regulatory requirements.)

Normally, the value of α T is measured by increasing the power level, and at each elevated power, measuring the increase in the temperature of the coolant ΔT and the overall reactivity change Δρ. (The value of Δρ can be then inferred from the reactor period T.) The results of this data collection process are shown for a research reactor in Table 17.4. After the data has been collected, it can then be plotted using a graph similar to that shown in Figure 17.15.

# Reading: Ch09.Energy Transport

## Introduction

- In Chapters 5 through 7, where the time and spatial distributions of neutrons in reactors are examined, the reader learned that with a specified set of cross sections the criticality equations allow reactors to operate at any power, without affecting the multiplication; the power level simply provides the normalization for the flux solution. The independence of power level from multiplication, however, only holds when the neutron flux is small. At higher power levels the temperatures of the fuel and coolant increase. Thermal expansion and other phenomena, such as Doppler broadening, then bring about changes in the cross sections, and concomitant changes in the value of k. In Chapter 8 we examined the temperature effects associated with power level changes. In this chapter we complete the loop by examining the reactivity feedback resulting from those changes in temperature.

- We begin by defining reactivity coefficients and then look at those caused specifically by fuel and by moderator temperature changes. We proceed by examining the reactivity effects that take place under various operating conditions, such as heat up from room temperature to operating conditions, changes in power level, transients, and so on. After examining reactivity control and the concepts of excess reactivity, temperature, and power defects, we conclude with a discussion of reactor transients.

## Core Power Distribution

- The treatment of reactor kinetics in Chapter 5 indicates that the power produced by a reactor is determined by the time-dependent multiplication kt, or correspondingly the reactivity,

| ρt=kt-1kt | ‎0.1 |
| --- | --- |

- In some situations it is possible to determine a priori the reactivity versus time. Such is often the case, for example, when control rods of known properties are moved in a prescribed manner in a reactor operating at very low neutron flux levels.

- As soon as a reactor produces enough power to raise the temperatures in the core above their ambient levels, however, the material densities as well as some of the microscopic cross sections become affected.

- Because the core multiplication depends on these densities, a reactivity feedback loop is established in which k, and thus , is dependent on temperatures and densities that in turn are determined by the reactor power history.

  - Energy and thus temperature is dependent on histoy of power:

  - Et=ifPnt-Pctdt=mcpΔT

- The understanding of the nature of mechanisms leading to reactivity feedback is essential to the analysis of power reactor behavior.In relating the incremental reactivity changes to reactor multiplication, the following approximation is nearly universal:

| dρ=dk/k2≈dk/k=dlnk ddkρ=ddkk-1k=1k-k-1k2=1k2 The argument is not convincing! | ‎0.2 |
| --- | --- |

Because k rarely differs from one by more than a few percent, little error is introduced into ρ. Moreover, the logarithmic form of Eq. (9.2) facilitates the analysis of reactivity effects: Because k frequently is approximated with the four-factor formula, writing: dρ=dlnk allows the factors to be transformed from multiplicative to additive form. In addition, since we make widespread use of Eq. (3.2) for expressing the multiplication as a product of infinite medium and leakage effects,

| k=k∞PNL | ‎0.3 |
| --- | --- |

| dkk=dk∞k∞-M2B21+M2B2dM2M2+dB2B2 | ‎0.4 |
| --- | --- |

| PL=M2B21+M2B2≪1 | ‎0.5 |
| --- | --- |

| dkk≈dk∞k∞ | ‎0.6 |
| --- | --- |

| dk∞k∞=dϵϵ+dpp+dff+dηTηT | ‎0.7 |
| --- | --- |

| k∞=k∞Tf, Tc | ‎0.8 |
| --- | --- |

| dk∞k∞=1k∞∂k∞∂TfdTf+1k∞∂k∞∂TcdTc | ‎0.9 |
| --- | --- |

| 1k∞∂k∞∂TX=1ϵ∂ϵ∂Tf+1p∂p∂Tf+1ηT∂ηT∂Tf+1f∂f∂Tf | ‎0.10 |
| --- | --- |

percent mille (pcm): The reactivity unit is one-thousandth of a percent %ΔK/K (equal to 10-2×10-3= 10-5 of keff). The unit of pcm is used at many LWRs because reactivity insertion values are generally quite small, and units of pcm allow reactivity to be written in whole numbers.

Mathematically, reactivity is a dimensionless number, but various units can express it. The most common units for research reactors are units normalized to the delayed neutron fraction β (e.g.,, cents and dollars) because they exactly express a departure from prompt criticality conditions.

10 pcm = 1.43 cents for βeff = 0.007; 10 pcm = 2.00 cents for βeff = 0.005)

Solubor® is manufactured to combine the highest concentration of boron with the maximum possible dispersion and solubility in water.